This document is based on a free document supplied by The Legal Stop Limited through its website www.legalstop.co.uk

[PLEASE RETAIN THE CREDIT AND HYPERLINK IN ACCORDANCE WITH THE TERMS OF THE LICENCE UNDER WHICH THE TEMPLATE IS PROVIDED.  THE HYPERLINK SHOULD POINT TO: www.legalstop.co.uk YOU CAN HOWEVER DELETE THIS NOTE BETWEEN SQUARE BRACKETS]

MOBILE SCAFFOLD INSPECTION FORM

| Company Name |  |
| --- | --- |
| Location |  |
| Completed by |  |
| Date |  |

Work using a Mobile Scaffold must be subject to a PERMIT TO WORK. Tower scaffolds must be inspected by a competent person before first use, after substantial alteration, and after any event likely to have affected its’ stability. If the tower remains erected in the same place for more than seven days, it should also be inspected at regular intervals (not exceeding seven days) and a written report must be made. Any faults found should be corrected.

| COMPONENT PARTS (INSPECTION) |  |  |  |
| --- | --- | --- | --- |
| PRE-USE | YES | NO | ACTIONS REQUIRED |
| Are there no overhead obstructions or hazards? |  |  |  |
| Are outriggers or stabilisers correctly positioned and secured? |  |  |  |
| Wind and weather conditions permit safe use? |  |  |  |
| Are access ladders in position and firmly located? |  |  |  |
| Are all base plates or castor wheels fully in contact with the ground, including those on stabilisers or outriggers? Are all castors properly locked? |  |  |  |
| Are barriers in place at ground level to prevent people from walking into the tower or straying into the work area? |  |  |  |
| Does the height of the mobile tower not exceed three times the length of the shortest side? |  |  |  |
| Have all bracing members been located exactly in accordance with the supplier's instructions? |  |  |  |
| Is the mobile tower vertical and square, and are the horizontal braces and platform level? |  |  |  |
| Are all guardrails and toe boards in position? Guardrails should be at least 910 mm high and toe boards at least 150 mm high. An intermediate guard rail or suitable alternative should be provided so the unprotected gap does not exceed 470 mm |  |  |  |
| Is the ground firm and level? |  |  |  |
| Are all spigot and socket joint locks holding the frames together secured? |  |  |  |
| FRAMES | YES | NO | ACTIONS REQUIRED |
| Are frame members free of extraneous material? |  |  |  |
| Have the devices for locking frames together been checked and are they functioning correctly? |  |  |  |
| Are frame members straight and undamaged? |  |  |  |
| Are spigots straight and parallel with the axis of the column tube? |  |  |  |
| CASTORS | YES | NO | ACTIONS REQUIRED |
| Can wheels rotate freely? |  |  |  |
| Do wheel brakes function properly? |  |  |  |
| Are castor housings, wheel and tyres undamaged? |  |  |  |
| Can castor swivels rotate properly? |  |  |  |
| PLATFORMS | YES | NO | ACTIONS REQUIRED |
| Are frames square and true? |  |  |  |
| Are decks not split or warped? |  |  |  |
| Have outriggers and stabilizers been checked for damage and hooks and are couplers functioning correctly? |  |  |  |
| Are platforms undamaged? |  |  |  |
| Are decks-to-frame fixings firm? |  |  |  |
| Are toe board clips/fittings undamaged and firm? |  |  |  |
| ADJUSTABLE LEGS | YES | NO | ACTIONS REQUIRED |
| Are threads clean and free from debris? |  |  |  |
| Are the legs bent? |  |  |  |
| Is the device to stop the leg falling out of the frame checked to and functioning correctly? |  |  |  |
| Are threads undamaged? |  |  |  |
| Review by manager/ competent person: |  |  |  |

NOTE: The stability of any scaffold tower will be affected if it is: - Used to hoist heavy materials or support rubbish chutes - Sheeted and/or likely to be exposed to strong winds - Climbed from the outside - Loaded with heavy equipment or materials - Used for operations involving heavy or awkward equipment, i.e. grit blasting, water-jetting, etc In said cases, additional support or alternative height to base ratios may be required.